## Sheet1
PUBLIC HEALTH ITEMS
S.No. | Description | Unit | S S RATE FOR 2005-06
1 | 2 | 3 | 4
1 | RATES OF LABOUR (SKILLED WORKMEN)
| 1. Caulkar | Per Day | As per common SSR
| 2. Plumber 1st Class | Per Day
| 3. Plumber 2nd Class | Per Day
| 4. Sewer Cleaner | Per Day
| 5. Well Sinker | Per Day
| 6. Pipe line Fitter 1st Class | Per Day
| 7. Pipe line Fitter 2nd Class | Per Day
| 8. Pump Driver | Per Day
| 9. Bore Mechanic | Per Day
| 10. Light Vehicle Driver | Per Day
Note:The rate at relevant item in common SSR is
applicable for occasional employment.
2 | RATES FOR EARTH WORK :
a. | Earth work excavation in all soils for pipe lines, for drainage and water supply, where the depth is 1.5 times more than the width. |  | AS PER COMMON SSR
b. | Earth work excavation in all soils for pipe lines, for drainage and water supply, where the depth is less than 1.5 times the width.
c. | Earth work excavation in all soils for open trenches, for valve pits, inspection chambers, etc.
3. a. | Excavation of pipe line trenches for drainage and water supply in rock requiring blasting with initial lead and lift including cost of blasting materials where the depth is 1.5 times more than the width, in places where there is no habitation.
b. | Excavation of pipe line trenches for drainage and water supply in rock requiring blasting with initial lead and lift including cost of blasting materials where the depth is less than 1.5 times the width, in places where there is no habitation.
c. | Cutting rock for pipe line trenches by hammers, nuckles and chisels including stacking where the depth is 1.5 times or more than the width.
d. | Cutting rock for pipe line trenches by hammers, nuckles and chisels including stacking where the depth is less than 1.5 times the width.
e. | Cutting rock for works other than pipe lines trenches by hammers, nuckles and chisels including stacking.
f. | For contol blasting at restricted places |  | 25% extra over relevant SSR item
NOTE :- Rock should be measured in solids. In case it
is not possible, stacks should be made in
which case 40% for voids to be deducted from
the stack measurements.
4 | Loading or unloading materials such as C.I. Pipes, PVC Pipes, AC Pressure Pipes, DI Pipes, SW Pipes, PVC Pipes, A.C/Specials less than 300 mm dia upto 4 m in length including stacking.
a. | C.I. Pipes/D.I. Pipes and fittings | Per Tonne | 55.6
b. | A.C. Pipes & Specials | Per Tonne | 46.4
c. | Stoneware pipes & Specials | Per Tonne | 46.6
d. | P.V.C. Pipes and fittings | Per Tonne | 45.8
5 | Loading or unloading materials such as C.I. Pipes, DI pipes, SW pipes, AC pressure pipes & fittings/ specials from 300 mm to 600 mm dia upto 4 m in length including stacking.
a. | C.I. Pipes/D.I. Pipes and fittings | Per Tonne | 69.6
b. | A.C. Pipes & Specials | Per Tonne | 63.1
c. | Stoneware pipes & Specials | Per Tonne | 63.5
6 | Loading or unloading materials such as C.I. Pipes, DI pipes, PVC pipes, AC pipes less than 300 mm dia, above 4 m in length including stacking.
a. | C.I. Pipes/D.I. Pipes and fittings | Per Tonne | 68.7
b. | A.C. Pipes & Specials | Per Tonne | 63.1
c. | P.V.C. Pipes and fittings | Per Tonne | 62.7
Note:- For loading and unloading the above materials at
Railway Stations, the rates may be adopted
based on the competitive quotations or the
hammalae charges if prevailing.
7 | Loading or unloading materials such as C.I. Pipes, DI pipes, AC pipes from 300 mm to 600 mm above 4 m in length including stacking.
a. | C.I. Pipes/D.I. Pipes and fittings | Per Tonne | 83.4
b. | A.C. Pipes & Specials | Per Tonne | 78.2
8. a. | Lowering the C.I. Pipes, D.I. Pipes and fittings with S/S ends carefully into the trenches and laying them true to alignment and gradient including all sundries, but excluding conveyance from source of supply as per BIS No.3114/85.
DIAMETER OF PIPE : (S/S Pipes) in mm :
| 80 | Per Metre | 12.5
| 100 | Per Metre | 12.5
| 125 | Per Metre | 12.5
| 150 | Per Metre | 12.5
| 180 | Per Metre | 14.4
| 200 | Per Metre | 16.1
| 225 | Per Metre | 17.1
| 250 | Per Metre | 18.2
| 300 | Per Metre | 23.4
| 350 | Per Metre | 42.2
| 380 | Per Metre | 42.7
| 400 | Per Metre | 44.6
| 450 | Per Metre | 52
| 500 | Per Metre | 56.1
| 530 | Per Metre | 63.8
| 560 | Per Metre | 69.9
| 600 | Per Metre | 74.6
| 650 | Per Metre | 77.2
| 680 | Per Metre | 82
| 700 | Per Metre | 90.8
| 750 | Per Metre | 104.8
| 800 | Per Metre | 121.5
| 900 | Per Metre | 145.7
| 1000 | Per Metre | 176
| 1100 | Per Metre | 209.1
| 1200 | Per Metre | 245.3
8. b. | Lowering the C.I. Pipes, D.I. Pipes and fittings with flanged ends carefully into the trenches and laying them true to alignment and gradient including all sundries, but excluding conveyance from source of supply as per BIS No.3114/85.
DIAMETER OF PIPE : (D/F Pipes) in mm :
| 80 | Per Metre | 15.2
| 100 | Per Metre | 15.2
| 125 | Per Metre | 15.2
| 150 | Per Metre | 15.9
| 180 | Per Metre | 16.3
| 200 | Per Metre | 17.8
| 225 | Per Metre | 19
| 250 | Per Metre | 20.3
| 300 | Per Metre | 25.9
| 350 | Per Metre | 46.4
| 380 | Per Metre | 47.8
| 400 | Per Metre | 51.3
| 450 | Per Metre | 57
| 500 | Per Metre | 59.6
| 530 | Per Metre | 66.6
| 560 | Per Metre | 71.6
| 600 | Per Metre | 78
| 650 | Per Metre | 80
| 680 | Per Metre | 86.5
| 700 | Per Metre | 99.7
| 750 | Per Metre | 112.7
| 800 | Per Metre | 138.2
| 900 | Per Metre | 167
| 1000 | Per Metre | 197.8
| 1100 | Per Metre | 232.1
| 1200 | Per Metre | 270.5
9. a. | Jointing the C.I. / DI Pipes & fittings with S/S ends excluding cost of jointing materials such as lead or lead wool and hemp yarn but including sundries such as cost of fuel for melting lead, filling with water, with a water lead upto 500 m and testing to required pressure etc, complete as BIS No.3114/85
DIAMETER OF PIPE : (S/S Pipes) in mm :
| 80 | Each Joint | 40.5
| 100 | Each Joint | 43.4
| 125 | Each Joint | 62.5
| 150 | Each Joint | 65.2
| 180 | Each Joint | 75.7
| 200 | Each Joint | 85.3
| 225 | Each Joint | 96.3
| 250 | Each Joint | 106.3
| 300 | Each Joint | 124.8
| 350 | Each Joint | 136.6
| 380 | Each Joint | 156.6
| 400 | Each Joint | 177.7
| 450 | Each Joint | 197.5
| 500 | Each Joint | 209.6
| 530 | Each Joint | 227.6
| 560 | Each Joint | 245.9
| 600 | Each Joint | 282.2
| 650 | Each Joint | 301.5
| 680 | Each Joint | 306.5
| 700 | Each Joint | 314.3
| 750 | Each Joint | 342.7
| 800 | Each Joint | 366.9
| 900 | Each Joint | 426.4
| 1000 | Each Joint | 483.5
| 1100 | Each Joint | 545.3
| 1200 | Each Joint | 600.2
9. b. | Jointing the C.I. Pipes, D.I. Pipes & fittings with Rubber Gasket, excluding the cost of the gasket but including all sundries filling with water with a water lead upto 500 m and testing to required pressure etc., complete as per BIS No.3114/85.
DIAMETER OF PIPE : in mm :
| 80 | Each Joint | 37.5
| 100 | Each Joint | 40.2
| 125 | Each Joint | 58.2
| 150 | Each Joint | 60.7
| 180 | Each Joint | 70.1
| 200 | Each Joint | 80.6
| 225 | Each Joint | 91.2
| 250 | Each Joint | 99
| 300 | Each Joint | 118
| 350 | Each Joint | 127.3
| 380 | Each Joint | 146
| 400 | Each Joint | 167.4
| 450 | Each Joint | 186.1
| 500 | Each Joint | 197.4
| 530 | Each Joint | 214.3
| 560 | Each Joint | 231.6
| 600 | Each Joint | 268.5
| 650 | Each Joint | 287
| 680 | Each Joint | 291.7
| 700 | Each Joint | 299.1
| 750 | Each Joint | 326.1
| 800 | Each Joint | 349.3
| 900 | Each Joint | 405.8
| 1000 | Each Joint | 460.3
| 1100 | Each Joint | 509.2
| 1200 | Each Joint | 557.4
10 | Jointing the C.I. Pipes, fittings and valves with flanged ends excluding cost of jointing materials such as bolts, nuts, rubber insertion, white lead and including filling with water with a water lead upto 500 m and testing to required pressure etc., comp as per BIS No.3114/85.
DIAMETER OF PIPE : in mm :
| 80 | Each Joint | 47.7
| 100 | Each Joint | 50.9
| 125 | Each Joint | 73.4
| 150 | Each Joint | 76.5
| 180 | Each Joint | 89.2
| 200 | Each Joint | 100.9
| 225 | Each Joint | 114.9
| 250 | Each Joint | 124.7
| 300 | Each Joint | 149.3
| 350 | Each Joint | 163.4
| 380 | Each Joint | 186.9
| 400 | Each Joint | 210.3
| 450 | Each Joint | 235.8
| 500 | Each Joint | 247.8
| 530 | Each Joint | 273.2
| 560 | Each Joint | 293.1
| 600 | Each Joint | 345.7
| 650 | Each Joint | 371.5
| 680 | Each Joint | 375.9
| 700 | Each Joint | 386.4
| 750 | Each Joint | 421.4
| 800 | Each Joint | 451.8
| 900 | Each Joint | 524.3
| 1000 | Each Joint | 629.6
| 1100 | Each Joint | 670.4
| 1200 | Each Joint | 739
11a | Lowering the RCC plain ended pipes carefully into the trench laying them true to alignment and gradient, jointing RCC pipes with cement joints including curing, the cost of jointing materials i.e., Cement Mortar (1:1.5), hemp yarn etc., and testing including filling | Per Metre | 7.3
11b | Lowering the RCC S/S pipes carefully into the trenches, laying them true to the alignment and gradient, jointing with rubber rings and testing including filling with water with a water lead upto 500 metres excluding cost of rubber rings as per BIS No.783/ | Per Metre | 4.8
12 | Laying, jointing of G.I. / PVC/HDPE pipes and specials/fittings including excavation upto 0.5 m depth in all soils except rock requiring blasting and re-filling trenches after laying and jointing pipes.
a | G.I. PIPES :
DIA in mm
| 50 | Per Metre | 12.3
| 40 | Per Metre | 12.3
| 32 | Per Metre | 11.3
| 25 | Per Metre | 11.3
| 20 | Per Metre | 10.2
| 15 | Per Metre | 10.2
b | PVC/HDPE pipes as per BIS No.7634 part-III/75 for PVC and BIS No.7634 part-II/75 for HDPE pipes.
DIA in mm
| 50 | Per Metre | 11.3
| 40 | Per Metre | 11.3
| 32 | Per Metre | 10.4
| 25 | Per Metre | 10.4
| 20 | Per Metre | 9.5
NOTE :- (i) The above rates are applicable for the works
in District only.
(ii) If the depth of excavation is more than 0.5 m
separate rates to be worked out.
13 | Lowering & laying AC pressure pipes in ready made trenches true to alignment and gradient including all sundries but excluding conveyance from source of supply, as per BIS No.6530/72. Dia of Pipes in mm.
| 80 | Per Metre | 7.1
| 100 | Per Metre | 7.1
| 125 | Per Metre | 7.1
| 150 | Per Metre | 7.4
| 200 | Per Metre | 9
| 250 | Per Metre | 10.4
| 300 | Per Metre | 12.7
| 350 | Per Metre | 22.3
| 400 | Per Metre | 25.1
| 450 | Per Metre | 27.9
| 500 | Per Metre | 33.2
| 600 | Per Metre | 35.5
14 | Jointing AC pressure pipes with AC couplings or CID joints complete with Rubber Rings including filling with water with a water lead upto 500 m and testing to required pressure, etc., complete but excluding cost of jointing materials and conveyance of pipes.
| 80 | Each Joint | 15.7
| 100 | Each Joint | 21.7
| 125 | Each Joint | 21.7
| 150 | Each Joint | 25.1
| 200 | Each Joint | 25.1
| 250 | Each Joint | 33.4
| 300 | Each Joint | 33.4
| 350 | Each Joint | 37.6
| 400 | Each Joint | 37.6
| 450 | Each Joint | 43.7
| 500 | Each Joint | 43.7
| 600 | Each Joint | 50.2
15 | Lowering and laying in ready made trenches true to alignment and gradient, jointing and testing of stoneware pipes excluding cost of jointing materials such as cement mortar and hemp yarn as per BIS No. 4127/83.
DIA of Pipes in mm .
| 100 | Per Metre | 18.9
| 150 | Per Metre | 23.8
| 200 | Per Metre | 26.5
| 225 | Per Metre | 27.8
| 250 | Per Metre | 31.7
| 300 | Per Metre | 36.4
| 400 | Per Metre | 40.6
| 450 | Per Metre | 54.5
16 | Lowering, laying, jointing & testing to Hydraulic Field test pressure including cost of water with minimum water lead of 500 M (Labour charges only) for PVC pipes excluding the cost of jointing materials.
DIA of Pipes in mm .
| 63 | Per Metre | 6.7
| 75 | Per Metre | 7.1
| 90 | Per Metre | 7.2
| 110 | Per Metre | 7.7
| 125 | Per Metre | 8.1
| 140 | Per Metre | 8.3
| 160 | Per Metre | 8.5
| 180 | Per Metre | 8.9
| 200 | Per Metre | 9.5
| 225 | Per Metre | 10
| 250 | Per Metre | 10.4
| 280 | Per Metre | 10.9
| 315 | Per Metre | 11.5
NOTE:- For item 9 to 16 the element of testing charges
is to be considered as 20% of the combined rate
for laying, jointing and testing. This 20% shall be
released only after satisfactory testing of the
pipe line to the required pressure.
17 | Labour charges for lowering and keeping in position of C.I. Sluice valves, reflux valves and scour valves. Dia of Valve in mm.
| 80 | Each | 19.2
| 100 | Each | 25.3
| 125 | Each | 33.2
| 150 | Each | 39.2
| 200 | Each | 72.7
| 250 | Each | 98.2
| 300 | Each | 148.8
| 350 | Each | 255.9
| 400 | Each | 313.9
| 450 | Each | 411
18 a. | Labour charges for fixing Air Valves including boring the mains, threading the bore and fixing nipple etc., complete. Dia of Air valve in mm.
| 25 | Each | 52.7
| 40 | Each | 60.4
| 50 | Each | 63.8
| 65 | Each | 68
| 80 | Each | 74.7
| 100 | Each | 87.7
| 125 | Each | 135.9
| 150 | Each | 148.6
18 b. | Labour charges for fixing Kinetic Air Valves with isolating Sluice valves, Double Air valves/ Air Cushion valve excluding cost of jointing materials such as bolts, nuts and rubber insertions etc., complete. Dia of Air Valve in mm .
| 25 | Each | 52.4
| 40 | Each | 60.1
| 50 | Each | 63.4
| 65 | Each | 67.7
| 80 | Each | 74.4
| 100 | Each | 87.3
| 125 | Each | 135.3
| 150 | Each | 147.9
19 | Labour charges for fixing fire hydrants excluding cost of jointing materials.
| 65 mm | Each | 59.8
| 80 mm | Each | 74.5
20 | Uprooting C.I./ DI Pipes by melting the lead, loosening the joints, scraping the pipes, hoisting and keeping within a lead of 10 m but excluding earth work excavation and refilling. Dia of Pipes in mm.
| 80 | Per Metre | Observed data only
| 100 | Per Metre
| 125 | Per Metre
| 150 | Per Metre
| 180 | Per Metre
| 200 | Per Metre
| 225 | Per Metre
| 250 | Per Metre
| 300 | Per Metre
| 350 | Per Metre
| 400 | Per Metre
| 450 | Per Metre
| 500 | Per Metre
| 600 | Per Metre
21 | Uprooting of RCC pipes including breaking the collars, loosening the joint, scraping the pipes, hoisting and keeping within a lead of 10 m but excluding earthwork excavation and refilling. | Per Metre | observed data only
22 | Removing GI/PVC/HDPE pipes and specials/ fittings and clearing.
Dia of Pipes in mm
| 50 |  | 50% of data of laying & jointing of GI/ PVC/ HDPE pipes and fittings of relevant PH item.
| 40 | Per Metre
| 30 | Per Metre
| 25 | Per Metre
| 20 | Per Metre
| 15 | Per Metre
23 | Cutting C.I./ DI Pipes without water in mains.Dia of pipes in mm.
| 80 | Each cut | 28.8
| 100 | Each cut | 28.8
| 125 | Each cut | 28.8
| 150 | Each cut | 28.8
| 180 | Each cut | 32.9
| 200 | Each cut | 32.9
| 225 | Each cut | 32.9
| 250 | Each cut | 47.3
| 300 | Each cut | 47.3
| 350 | Each cut | 65.9
| 380 | Each cut | 72.3
| 400 | Each cut | 75.4
| 450 | Each cut | 93.7
| 500 | Each cut | 112.7
| 530 | Each cut | 122.5
| 560 | Each cut | 132.3
| 600 | Each cut | 150
| 680 | Each cut | 169.2
24 | Cutting A.C. Pipes without water in mains.Dia of pipes in mm.
| 80 | Each cut | 12.3
| 100 | Each cut | 12.3
| 125 | Each cut | 12.3
| 150 | Each cut | 12.3
| 200 | Each cut | 12.9
| 250 | Each cut | 20.9
| 300 | Each cut | 20.9
| 350 | Each cut | 26.2
| 400 | Each cut | 29
| 450 | Each cut | 35.6
| 500 | Each cut | 39.6
| 600 | Each cut | 44.3
25 | Drilling and tapping CI/ DI Main and fixing brass screw down ferrule and plug.
| 10 mm to 20mm | Each Tapping | 57.4
| 25 mm to 40mm | Each Tapping | 68.5
26 | Cutting road surface including stacking of excavated materials for pipe line trench work.
| a) Cutting open B.T. road surface (as well as asphalt concrete upto 75 mm thick) including water bound macadam | 10 Sqm | 186.8
| b) Cutting open C.C. road surface | 1 Cum | 354.8
| c) Cutting open water bound macadam road including soiling | 1 Cum | 60.8
27 | Bailing out water.(For PH item)
| a) Bailing out water from the pipe line trenches with oil engine driven pumpsets, including hire charges, fuel charges and wages for Driver and Helper. | HP/Hour | 13
| b) Bailing out water from the pipe line trenches with Electric Driven pumpset including hire charges, current charges and wages for Driver and Helper. | HP/Hour | 10.2
NOTE:- The rate is payable on the total H.P. hours
ignoring fractions less than 0.5 HP hour and
rounding off 0.5 HP hour or more to the next
higher integer.
28 | Shoring and strutting of trenches for water and sewer main.
| a) Single Staging from (0 to 2.5 Mts.) | 10 Sqm of Shoring area | 543.8
| b) Double staging from (2.5 m to 4.5 Mts.) | 10 Sqm of Shoring area | 735.3
29 | Barricading, hoarding, lighting and watching etc., for water supply and sewerage works for trenches. | 10 RM | 29.4
30 | Excavation of trenches for infiltration galleries, syphon lines and connecting mains in all soils under water including all leads, lifts, shoring, strutting, bailing out water and removal of shoring and strutting materials, after completion of pipe line w
| a) 0 to 1 m deep under water. | 10 Cum | 4381.2
| b) 1 to 2 m deep under water. | 10 Cum | 6276
| c) 2 to 5 m deep under water. | 10 Cum | 9058.6
| d) Beyond 5 m deep under water for every additional 1 m depth over item 'c' | 10 Cum | 1714.2
NOTE:- The above rates do not include rock requiring
blasting or chiselling
31 | Laying and jointing glazed stoneware pipes including loose jointing with cement fillets and all other incidental charges for infiltration gallery, inclusive of bailing out water by pumping to keep the trench reasonably dry to facilitate the work excluding cost of stoneware pipes
| a) 200 mm to 400 mm | Per Metre | 218.1
32 | Laying and jointing perforated RCC pipes inclusive of bailing out water and jointing with cement fillets and all other incidental charges for infiltration gallery inclusive of bailing out water by pumping to keep the trench reasonably dry to facilitate the work excluding.
| a) 200 mm to 600 mm | Per Metre | 225.1
33 | Centring and scaffolding charges for RCC members including all materials and labour charges for forming and dismantling a) for R C C Elevated Service Reservoir of staging up to 15 metre below L W L.
| 1) Slabs for thickness (150 mm to 300 mm) |  | 826.2
| 2) Slabs for thickness above (300 mm) | One Sqm of Centering area
1651.7
3) Side walls curved surfaces.
624.5
4) Side wall straight surfaces.
555.5
5) Dome.
676.5
6) Roof Slab.
416.6
7) Column footing.
455.4
8) Column braces and beams
278.6
9) Circular braces, ring beams & circular column.
305.2
Note:- For RCC ELSR of staging above 15 m
observed data may be worked out for the extra
staging taking into consideration, the quantum
of concrete to be lifted, extra scaffolding
involved etc., and may be adopted in the
working estimate after getting approval from
the competent authority
b) For Ground level works :-
| 1) Slabs | 1 Sqm | As per Common SSR
| 2) Beams & Lintels | 1 Sqm
| 3) Sun shades | 1 Sqm
| 4) RCC vertical walls of plane surface upto 3 m height | 1 Sqm | 302.3
such as ground level tanks clarifiers and sludge
digesters etc.
| 5) RCC vertical walls of circular faces upto 3 m | 1 Sqm | 385.7
height.
| NOTE: Scaffolding for every extra height of 1 m or | 10 Sqm
part thereof but not less than 0.5 m - 10 Sqm.
34 | Lift or delift of materials :
| a) Lifting of cement concrete for RCC elevated | 1 Cum | 53.9
reservoir. For every 3 m height or part thereof over
the initial lift of 5 m
| b) Delifting the materials such as stones, concrete | 1 Cum | 16.4
etc., for concrete below ground level for
construction of masonry ground level reservoirs,
inspection wells, test wells and sump wells etc., for
every 2 m depth or part thereof beyond the initial
depth of 4 meters from ground level.
35 | Labour charges for fixing ventilating shafts complete with all accessories. | Each | 222.2
36 | Labour charges for fixing water closets including fixing of foot rests (for all sizes). | Each | Relevant Common SSR item
37 | Labour charges for fixing of flushing cistern including fixing of flush pipes, lead pipe, jointing etc., complete | Each
38 | Labour charges for fixing wash hand basin including fixing of inlet and waste pipe connections etc., complete | Each
39 | Fixing urinal with inlet and waste pipe connections etc., complete. | Each
40 | Refilling the trench for pipe line with excavated earth including watering and tamping etc., complete | 10 Cum
41 a | Extra allowance for isolated scattered works viz., valve pits, public fountains, meter pits and manholes etc., complete. | Each | 25% extra over the cost of chamber.
41 b | Repairs to the existing mains, interconnections, replacement of valves/specials etc., including the cutting ,jointing, bailing out of water, drying, earth work execavation etc., complete. |  | 100% extra over the cost of work
42 | Removal of wet silt and sludge from sullage drains with aid of baskets and vessels. | 10 Cum | 554.1
43 | Conveyance of C.I./ DI Pipes, C.I. Special excluding loading, unloading and stacking. |  | As per separate sheet enclosed
44 | Conveyance of RCC pipes including loading, unloading and stacking. |  | Deleted
45 | Conveyance of Stoneware pipes inlcuding loading unloading and stacking. |  | As per local competitive quotations
46 | Conveyance of A.C. pressure pipes and accessories including loading, unloading and stacking. |  | As per local competitive quotations
47 | Conveyance of PVC pipes and accessories including loading, unloading and stacking. |  | Deleted
48 | Well sinking in sandy and other loose soils under water either by manual labour, divers, or dredgers, weighting the top of staining to assist sinking etc., including dewatering and other incidental charges such as hire charges for mechanical equipment etc,complete up to 4 m internal dia.
| Upto 2 m below GL/m | Per metre | 9220.6
| From 2 to 4 m below GL/m | Per metre | 10098.1
| From 4 to 6 m below GL/m | Per metre | 11414.8
| From 6 to 8 m below GL/m | Per metre | 12871.1
| From 8 to 10 m below GL/m | Per metre | 14227.9
Note:-Below 10 m for every metre depth or part
thereof add Rs.250/- per m. For higher dia,
observed data is to be prepared and got
approved.
49 | Sinking in Hard strata other than rock but in soils like limestone, gravel, clay under water including, pumping dewatering, hire charges for mechanical equipment etc., complete. |  | Deleted
50 | Open well excavation in various soils. |  | As per Common SSR
51 | Rates for OHSRs/ELSRs including fixtures with a staging of 15 m.
a | Capacity in 500 Kilo litres | Per litre | 4.75
b | Capacity in 1000 Kilo litres | Per litre | 4.54
c | Capacity in 1500 Kilo litres | Per litre | 4.28
d | Capacity in 2000 Kilo litres | Per litre | 4.1
e | Capacity in 2500 Kilo litres | Per litre | 3.89
NOTE: -1) The above rates are applicable for
Elevated Level Services Reservoirs /
OHSRs with RAFT FOUNDATION and a
rate of Rs.2,700/- per tonne for cement
and Rs.28,000/- per tonne for steel.
2) For every m height of staging above 15 m
or less than 15 m the rate shall be
increased/reduced by Rs.0.02 paise per
litre.
3) For every Rs.100/- increase/decrease in
price of cement per tonn increase/
decrease the rate by 0.7%
4) for every Rs.1000/- increase/decrease in
price of steel per tonne, increase/decrease
the rate by 2%
5) Rate inclusion of three coats of epoxy paint
to inner surface of the reservoir including
roof dome.
6) For intermediate ranges proportional rates
may be adopted.
7) The above rates be adopted for estimate
purposes for construction of ELSR for a
finished work including 2 coats of
snowcem painting for external surfaces,
lettering fixing of all required fixtures,
pipes, bends, valves etc., for pipe
connections but excluding cost of pipes,
bends and valves as per departmental
designs and drawings
8) The above rates are arrived considering a
wind pressure as per BIS No.875/88
9) For tribal/Agency / Rural area, the above
rates shall be increased by 5%
10) Fixtures include.
a) A balcony of 0.75 m width at floor slab level/ middle
ring beam level / top ring beam level with RCC post
with GI pipe hand railing.
b) C.I. Manhole frame and cover : 0.60 x 0.6 m size 2
Nos.
c) RCC Mosquito proof ventilators.
d) RCC Finial - 1 No.
e) RCC precast ladders 0.45 m wide - 2 Nos.
f) RCC dog legged stair case of 1.00 m width with
hand railing - 1 No.
g) RCC hand railing 0.75 m height alround at top of
reservoir.
h) Water level indicator of approved pattern - 1 No.
i) Lightening arrestor with all its accessories complete
including earthing - 1 No.
52 | Rates for OHSRs/ELSRs including fixtures with a staging of 15 m.
a | 40,000 Litres capacity | Per litre | 11.23
b | 40,001 to 60,000 Litres capacity | Per litre | 8.53
c | 60,001 to 1,00,000 Litres capacity | Per litre | 7.88
d | 1,00,001 to 2,00,000 Litres capacity | Per litre | 6.91
e | 2,00,001 to 3,00,000 Litres capacity | Per litre | 6.48
f | 3,00,001 to 4,00,000 Litres capacity | Per litre | 5.72
g | 4,00,001 to 4,50,000 Litres capacity | Per litre | 4.97
NOTE: -1) The above rates are applicable for Elevated
Level Services Reservoirs / OHSRs with
RAFT FOUNDATION and a rate of
Rs.2,700/- per tonne for cement and
Rs.28,000/- per tonne for steel.
2) For every metre height of staging above 15 m or less
than 15 m, the rate shall be increase/reduced by
Rs.0.02 paise per litre.
3) For every Rs.100/- increase/decrease in price of
cement per tonne increase/decrease the rate by
0.7%
4) For every Rs.1000/- increase/decrease in price of
steel per tonne increase/decrease the rate by 2%
5) Rate inclusive of three coats of epoxy paint to inner
surface of the reservoir including roof dome.
6) For intermediate ranges proportional rates may be
adopted.
7) The above rates be adopted for estimate purposes for
construction of ELSR for a finished work including 2
coats of snowcem painting for external surfaces,
lettering, fixing of all required fixtures, pipes, bends,
valves etc., for pipe connections, but excluding cost
of pipes, bends and valves, as per departmental
designs and drawings
8) The above rates are arrived considering a wind
pressure as per BIS No.875/88
9) For Tribal/Agency/ Rural area, the above rates shall
be increased by 5%.
10) Fixtures include :
a) RCC or Aluminium ladder inside 0.45 m wide.
b) Dog legged staircase of 1.0 m wide.
c) M.S. Ladder/spiral on the outside.
d) Lightening arrestor, including conductor and earthing
etc.
e) RCC ventilators with copper or stainless steel fly proof
mesh.
f) RCC finial ventilators with copper or stainless steel fly
proof mesh.
g) Manholes frame and cover 0.75x0.75 m with frame as
per IS specifications (light duty) – 2 Nos.
h) Railing with 32 mm dia G.I. Pipes (A class) in two
rows around OHSR fixed in RCC (1:2:4) posts of size
100x75x75 mm with 1.5 m intervals around periphery
on top of the OHSR for smaller capacities.
i) Water level indicator of good quality with ebonite/
copper float approved pattern- 1 No.
53 | Construction of Rapid Gravity Filtration Plant including civil, mechanical and electrical trial running etc., complete.
| 1) 2.0 Mld | Per litre | 1.25
| 2) 5.0 Mld | Per litre | 1.15
| 3) 10.0 Mld | Per litre | 1.04
| 4) 20.0 Mld | Per litre | 0.94
NOTE: - a) Above 20 mld the litre rate shall be arrived by reducing the litre rate of 20 mld @ Rs.0.01 P per each additional mld. For intermediate capacities, proportinal rates shall be adopted.
b) The above rates are applicable with cement @ rate of Rs.2,700/-MT and steel of 28,000/MT.
c) For every Rs.100/MT increase/decrease the price of cement increase/reduce the rate by 0.7%.
d) For every Rs.1000/MT increase/decrease in price of steel increase/reduce the rate by 2%.
e) For rural areas an extra allowance of 5% shall be given on basic rate.
NOTE:-The prices of cement and steel will be reviewed
and fixed quarterly and rates will be
communicated separately by ENC (IW) I & CAD
Dept Hyderabad.